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Spare parts Q

)

1 Ydronet housing 6/4" uPVC grey
2 O-ring 35x3 Nitrille rubber | ol
3 Connection 3/4" uPVC S ST
4  Connection nut 6/4" uPVC
5 O-ring 48x3 Nitrille rubber
6 Bowl uPVC transparant
7

8
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Nut for bowl uPVC
O -ring 12x2 Nitrille rubber
Draining tap 1/4" uPVC

0 Filter cartridge 80 micron U
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YDRONET 6/4" Ref. 0040610





